DETAILED REGISTER

OF

LEGISLATION / REGULATION

| Prepared By | Approved By |
| --- | --- |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Liquid Discharge | Liquid discharge from Canteen, toilets, bathrooms etc. Liquid discharge from washing of floors. Liquid discharge from manufacturing area, Utilities | Section 12 of Factories Act, 1948, Environment Protection Act, 1986 Section-25, 26 of Water (Prevention &Control of Pollution) Act, 1974 | 23rd Sept. 1948 23rd March 1974 | Directorate of Industrial Safety & Health | Factory License As per ‘Consent to operate’ the treated effluent should meet following standards. pH Between 5.5 – 9.0, SS< 100 mg/L, BOD3days 270C<30 mg/L, COD< 250mg/L, O& G < 10mg/L,TDS<2100mg/L,Sulphates<1000mg/L, Chlorides<1000mg/L | Approved |  | Fully complied with | Annual return for water cess Monthly Monitoring |  | Ok Approved Party |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Air Emission | Emissions of fumes from boiler chimney, scrubber, DG Set, etc. Emission of fumes during granulation, binder preparation, sampling, analysis, cleaning machines etc. | Environment Protection Act, 1986 Section 22, 22A, 26, 27 51 of The Air (Prevention and control of Pollution) Act1981 | 29 March 1981 |  | As per ‘Consent to operate’ the Air Emissions should | Approved |  | Fully complied with | Bi monthly Monitoring |  | Ok Approved party |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Solid Waste | discarded containers/barrels, plastic scrap, paper scrap, metal scrap, generation of ash from boiler / incinerator, food waste etc. | Section 12 of Factories Act, 1948, Rule, 1950, Environment Protection Act, 1986 The Hazardous Wastes (Management and Handling) Rules & Amendment Rules 1989/2000/2003 | 23rd Sept. 1948 28th July 1989 6th Jan 2000 20th May 2003 | Directorate of Industrial Safety & Health | Factory License As per ‘Consent to operate’ the Solid Waste should be disposed by sending to approved facility. | Approved Status |  | Fully complied with | Annual returns |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Noise Generation | Generation of noise from Air Compressor, D.G. Sets, Boiler, Vacuum Pump, FBE, Exhaust fan | Section 87 of Factories Act, 1948 EPA, 1986 The Noise Pollution (Regulation & Control) Rule 2000 Section 22 of The Air (Prevention & Control of Pollution) Act, 1981. Schedule VI of Rule 3 of Environment (Protection) Rule, 1986 | 23rd Sept. 1948 14th Feb. 2000 1982 1986 | Directorate of Industrial Safety & Health HPPCB | Factory License As per ‘Consent to operate’ the Noise level within premises should . | Approved |  | Fully complied with | Acoustic for DG, PPEs, Six monthly monitoring |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R22 gas leak | AC & DX Unit, Chiller Plant | Ozone Depleting Substances (Regulation & Control) Rules, 2000 | 19th July 2000 | Ozone Cell, Ministry of Environment & Forests, Govt. of India | Consent | Approved |  | Complied with | Within limit |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Import & store of class B & class C petroleum products | Transfer, Storage & handling at Diesel, Furnace Oil Storage Area, Boiler, DG Room | Section 7, of Petroleum Act, 1934 Rule 4, 6, 64, 143 of The Petroleum Rule, 1976, Rule 4, 6, 64 143 of The Petroleum Rule, 2002 | 16th Sept 1934 1st August 1976 13th March 2002 | Chief Controller of Explosive, Nagpur | Storage License | Approved status |  | Complied with | As per licensed conditions |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weights & Measures | Correct weighing of ingredient | Standards of Weights & Measures Act, 1976 Standards of Weights & Measures (Packaged commodities), 1977 Standards of Weights & Measures (Approval of models), 1987 | 8th April 1976 26th Sept.1977 22nd Dec. 1987 | Director of legal metrology | Calibration Certificate | Standards of Weights & Measures Act, 1976 |  | Complied with | As per approved conditions |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Boiler operation | Boiler Accident. | Section 8, 18, 24 The Indian Boiler Act, 1923 | 23rd Feb 1923 | Boiler Inspector | License | Approved status |  | Complied with | As per licensed condition |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Testing of Pressure Vessels | Bursting of pressure vessel Bursting of high pressure steam line | Section 31 of Factories Act, 1948 | 23rd Sept. 1948 | Joint Director, Industrial Safety & Health | Test Certificate | Approved |  | Complied with | As per test certificate conditions |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lifting Tackles | Failure of Lifting Tackles | Section 29 of Factories Act, 1948 | 23rd Sept 1948 | Joint Director, Industrial Safety & Health | Test Certificate | Approved Status |  | Complied with | As per test certificate conditions |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Electrical Installations | Electrical shock due to Faulty Electrical connection, bare cables, Short Circuit | The Indian Electricity Act, 1910 Electricity act, 2003 Indian Electricity Rule, 1956 | 1910 26th May 2003 26th June 1956 | Electrical Inspectorate | Approval | Approved |  | Complied with | As per test certificate conditions |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Medical Surveillance | Health status | Section 75, 90 of Factories Act, 1948 | 23rd Sept. 1948 | Director, Industrial Safety & Health / Medical Inspector of Factories | Medical Report (Form No-17) | Approved | Personnel Head, HSE Head | Complied with | Reports | DP-03 | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Factory License | Factory operations | Section 6 of Factories Act, 1948 | 23 Sept. 1948 | Joint Director, Industrial Safety & Health | Factory License | Approved | Personnel Head, HSE Head | Complied with | As per factory licensed conditions | DP-03 | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Annual Returns | Returns | Section 110 of Factories Act, 1948 | 23 Sept. 1948 1950 | Joint Director, Industrial Safety & Health | Form 21 of HPFR, 1950 | Approved |  | Complied with | Returns as per Form 21 |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ambulance Van | Maintenance of Ambulance Van | Factories Act, 1948. | 23rd Sept. 1948 | Joint Director, Industrial Safety & Health | As required by the law | Approved |  | Complied with | Daily checks |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PUC for Vehicles | Air Pollution & impact on Environment | Section 190 of Motor Vehicle Act, 1988 | 14th Oct 1988 | RTO | PUC Certificate | Approved status |  | Complied with | As per PUC certificate norms |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| OHC | Occupational Injuries | Section 45 of Factories Act, 1948 | 23rd Sept. 1948 | Joint Director, Industrial Safety & Health / Medical Inspector of Factories | Recording of accidents | Approved |  | Complied with | Accident Reports |  | ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Disposal of Batteries | Disposal of batteries from D.G., D.G. operated pump, UPS, | Battery Management Rule, 2000 |  |  | Old batteries to be send back to the dealer / ,manufacturer | Approved | Engineering Head | Complied with | Old batteries are sent to authorized dealer |  | Ok |

| ACTIVITY PROCESS AFFECTED | REFERENCE TO SPECIFIC ASPECTS/ HAZARDS | LEGISLATIVE ISSUE/ACT REGULATION | DATE OF ENACT -MENT | REGULATORY AUTHORITY | DETAILED REQUIRE-MENTS OF LEGISLATION | PRESCRIBED NORMS IMPOSED BY LEGISLATION | RESPON -SIBILITY | LEVEL OF COMPLIANCE AND POLICY | CONTROLS/ MEASUREMENTS | REFERENCE DOC / CONTROL / INSTRUC -TION | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Storage of Solvent, Raffinate & Slop | Storage of Furnace Oil | The Solvent, Raffinate & Slop (Acquisition, Sale, Storage & Prevention of Use in Automobile) Order, 2000. | 06/06/ 2000 | District Collector Office | Storage License | Approved Status |  | Complied with | As per licensed conditions |  | Ok |